## equipmentData
Equipment | Source | Location | Room | Emergency | UPS | Location DWG | Circuit Number | Description | Leaf | Load Type | EA | Q | Dem | Total VA | BRK | #PH
SB-1 | T-1 | Admin | 170 | 0 | 1 | 3E016 |  | Switchboard | 0
MCC-1A | SB-1 | Admin | Penthouse | 0 | 0 | 3E016 |  | Motor Control Center | 0
PNL 1PA | SB-1 | Admin | 170 | 0 | 0 | 3E016 |  | Panel | 1
T1LA | SB-1 | Admin | 170 | 0 | 0 | 3E016 |  | Transformer | 0
PNL 1LA | T1LA | Admin | 139 | 0 | 0 | 3E016 |  | Panel | 0
ASU-3-2 | SB-1 | Admin |  | 0 | 0 | 3E022 |  | Air Supply Unit | 1
T1LB | SB-1 | Admin | 170 | 0 | 0 | 3E016 |  | Transformer | 0
PNL 1LB | T1LB | Admin | 139 | 0 | 0 | 3E016 |  | Panel | 1
T1LC | SB-1 | Admin | 170 | 0 | 0 | 3E016 |  | Transformer | 0
PNL 1LC | T1LC | Admin | 139 | 0 | 0 | 3E016 |  | Panel | 1
T1LD | SB-1 | Admin | 170 | 0 | 0 | 3E016 |  | Transformer | 0
PNL 1LD | T1LD | Admin | 139 | 0 | 0 | 3E016 |  | Panel | 1
T1LE | SB-1 | Outside | Guard Gate | 0 | 0 | 1E058 |  | Transformer | 0
PNL 1LE | T1LE | Outside | Guard Gate | 0 | 0 | 1E058 |  | Panel | 1
80KVA UPS-1 | SB-1 | Admin | 170 | 0 | 1 | 3E016 |  | Uninterruptible Power Supply | 0
PNL U1PB | 80KVA UPS-1 | Admin | 170 | 0 | 1 | 3E016 |  | Panel | 0
T-UPS-CPC-1 | PNL U1PB | Admin | 170 | 0 | 1 | 3E016 |  | Transformer | 0
PNL UPS-CPC-1 | T-UPS-CPC-1 | Admin | 169 | 0 | 1 | 3E016 |  | Panel | 1
T-UPSA | PNL U1PB | Admin | 170 | 0 | 1 | 3E016 |  | Transformer | 0
PNL UPSA | T-UPSA | Admin | 170 | 0 | 1 | 3E016 |  | Panel | 0
PNL TPP | PNL UPSA | Admin | 154 | 0 | 1 | 3E016 |  | Panel | 1
PNL CPC-2A | MCC-1A | Admin | 169 | 0 | 0 | 3E016 |  | Panel | 1
PNL CPC-2B | MCC-1A | Admin | 169 | 0 | 0 | 3E016 |  | Panel | 1
1LA-1 | PNL 1LA | Admin | 141 | 0 | 0 | 1LA | 1 | Recpt/Overhead Projector | 1 | R | 180 | 9 | 0.6 | 1620 | 20 | 1
1LA-3 | PNL 1LA | Admin | 140,144,145,146 | 0 | 0 | 1LA | 3 | RECEPTACLE | 1 | R |  |  |  |  | 20 | 1
1LA-5 | PNL 1LA | Admin | 135,136,137 | 0 | 0 | 1LA | 5 | RECEPTACLE | 1 | R |  |  |  |  | 20 | 1
1LA-7 | PNL 1LA | Admin | 148,149,150,151 | 0 | 0 | 1LA | 7 | RECEPTACLE | 1 | R |  |  |  |  | 20 | 1
1LA-9 | PNL 1LA | Admin | 151,152 | 0 | 0 | 1LA | 9 | RECEPTACLE | 1 | R |  |  |  |  | 20 | 1
1LA-11 | PNL 1LA | Admin | 147 | 0 | 0 | 1LA | 11 | RECEPTACLE | 1 | R |  |  |  |  | 15 | 1
1LA-13 | PNL 1LA | Admin | 147 | 0 | 0 | 1LA | 13 | RECEPTACLE | 1 | R |  |  |  |  | 20 | 1
1LA-15 | PNL 1LA | Admin | 147 | 0 | 0 | 1LA | 15 | RECEPTACLE | 1 | R |  |  |  |  | 20 | 1
1LA-17 | PNL 1LA | Admin | 147,158 | 0 | 0 | 1LA | 17 | RECEPTACLE | 1 | R |  |  |  |  | 20 | 1
1LA-19 | PNL 1LA | Admin | 156,157,158 | 0 | 0 | 1LA | 19 | RECEPTACLE | 1 | R |  |  |  |  | 20 | 1
1LA-21 | PNL 1LA | Admin | 165,166 | 0 | 0 | 1LA | 21 | RECEPTACLE | 1 | R |  |  |  |  | 20 | 1
1LA-23 | PNL 1LA | Admin | 162 | 0 | 0 | 1LA | 23 | RECEPTACLE | 1 | R |  |  |  |  | 20 | 1
1LA-25 | PNL 1LA | Admin | 162 | 0 | 0 | 1LA | 25 | RECEPTACLE | 1 | R |  |  |  |  | 20 | 1
1LA-27 | PNL 1LA | Admin | 162 | 0 | 0 | 1LA | 27 | RECEPTACLE | 1 | R |  |  |  |  | 20 | 1
1LA-29 | PNL 1LA | Admin | 176 | 0 | 0 | 1LA | 29 | RECEPTACLE | 1 | R |  |  |  |  | 20 | 1
1LA-31 | PNL 1LA | Admin | 171,172,173,174,175 | 0 | 0 | 1LA | 31 | RECEPTACLE | 1 | R |  |  |  |  | 20 | 1
1LA-33 | PNL 1LA | Admin | 147,155 | 0 | 0 | 1LA | 33 | RECEPTACLE | 1 | R |  |  |  |  | 20 | 1
1LA-35 | PNL 1LA | Admin | 147-159 | 0 | 0 | 1LA | 35 | RECEPTACLE | 1 | R |  |  |  |  | 20 | 1
1LA-37 | PNL 1LA | Admin | 126 | 0 | 0 | 1LA | 37 | RECEPTACLE | 1 | R |  |  |  |  | 20 | 1
1LA-39 | PNL 1LA | Admin | 126 | 0 | 0 | 1LA | 39 | RECEPTACLE | 1 | R |  |  |  |  | 20 | 1
1LA-41 | PNL 1LA | Admin | 102 | 0 | 0 | 1LA | 41 | RECEPTACLE | 1 | R |  |  |  |  | 20 | 1
1LA-2 | PNL 1LA | Admin | 144 | 0 | 0 | 1LA | 2 | RECEPTACLE | 1 | R | 180 | 5 | 0.6 | 900 | 20 | 1
1LA-4 | PNL 1LA | Admin | 134,135,138, Hall | 0 | 0 | 1LA | 4 | RECEPTACLE | 1 | R |  |  |  |  | 20 | 1
1LA-6 | PNL 1LA | Admin | 143,148 | 0 | 0 | 1LA | 6 | RECEPTACLE | 1 | R |  |  |  |  | 20 | 1
1LA-8 | PNL 1LA | Admin | 147 | 0 | 0 | 1LA | 8 | RECEPTACLE | 1 | R |  |  |  |  | 20 | 1
1LA-10 | PNL 1LA | Admin | 147 | 0 | 0 | 1LA | 10 | RECEPTACLE | 1 | R |  |  |  |  | 20 | 1
1LA-12 | PNL 1LA | Admin | 147 | 0 | 0 | 1LA | 12 | RECEPTACLE | 1 | R |  |  |  |  | 20 | 1
1LA-14 | PNL 1LA | Admin | 147 | 0 | 0 | 1LA | 14 | RECEPTACLE | 1 | R |  |  |  |  | 20 | 1
1LA-16 | PNL 1LA | Admin | CORRIDOR | 0 | 0 | 1LA | 16 | RECEPTACLE,COPIER | 1 | R |  |  |  |  | 20 | 1
1LA-18 | PNL 1LA | Admin | 167 | 0 | 0 | 1LA | 18 | RECEPTACLE | 1 | R |  |  |  |  | 20 | 1
1LA-20 | PNL 1LA | Admin | 168 | 0 | 0 | 1LA | 20 | RECEPTACLE | 1 | R |  |  |  |  | 20 | 1
1LA-22 | PNL 1LA | Admin | 162 | 0 | 0 | 1LA | 22 | RECEPTACLE | 1 | R |  |  |  |  | 20 | 1
1LA-24 | PNL 1LA | Admin | 162 | 0 | 0 | 1LA | 24 | RECEPTACLE | 1 | R |  |  |  |  | 20 | 1
1LA-26 | PNL 1LA | Admin | 162 | 0 | 0 | 1LA | 26 | RECEPTACLE | 1 | R |  |  |  |  | 20 | 1
1LA-28 | PNL 1LA | Admin | 162 | 0 | 0 | 1LA | 28 | RECEPTACLE | 1 | R |  |  |  |  | 20 | 1
1LA-30 | PNL 1LA | Admin | 169,170,Hall | 0 | 0 | 1LA | 30 | RECEPTACLE | 1 | R |  |  |  |  | 20 | 1
1LA-32 | PNL 1LA | Admin | 163,169,176 | 0 | 0 | 1LA | 32 | RECEPTACLE | 1 | R |  |  |  |  | 20 | 1
1LA-34 | PNL 1LA | Admin | 161,164,Hall | 0 | 0 | 1LA | 34 | RECEPTACLE | 1 | R |  |  |  |  | 20 | 1
1LA-36 | PNL 1LA | Admin | 126,133 | 0 | 0 | 1LA | 36 | RECEPTACLE | 1 | R |  |  |  |  | 20 | 1
1LA-38 | PNL 1LA | Admin | 126 | 0 | 0 | 1LA | 38 | RECEPTACLE | 1 | R |  |  |  |  | 20 | 1
1LA-40 | PNL 1LA | Admin | 126 | 0 | 0 | 1LA | 40 | RECEPTACLE | 1 | R |  |  |  |  | 20 | 1
1LA-42 | PNL 1LA | Admin | 170 | 0 | 0 | 1LA | 42 | Light, Photo Cell, Time Clock Recpt | 1 | R,L |  |  |  |  | 20 | 1

## Panel Schedules
PANEL BOARD: |  | PNL 1LA | FED FROM: |  |  | VOLTAGE LG: |  |  | SC Rating SYM
STN NUMBER: |  |  | VOLTAGE LL: |  |  | BUS RATING: |  |  | MOUNTING:
LOCATION: |  |  | MAIN BREAKER: |  |  | PHASE/WIRE: |  |  | ENCLOSURE:
CKT | DESCRIPTION | LOCATION | LT | EA | Q | Dem | Total VA | BRK | #PH | PH | #PH | BRK | Total VA | Dem | Q | EA | LT | LOCATION | DESCRIPTION | CKT
1 | Recpt/Overhead Projector | 141 | R | 180 | 9 | 0.6 | 1620 | 20 | 1 | A | 1 | 20 | 900 | 0.6 | 5 | 180 | R | 144 | RECEPTACLE | 2
3 | RECEPTACLE | 140,144,145,146 | R | (blank) | (blank) | (blank) | (blank) | 20 | 1 | B | 1 | 20 | (blank) | (blank) | (blank) | (blank) | R | 134,135,138, Hall | RECEPTACLE | 4
5 | RECEPTACLE | 135,136,137 | R | (blank) | (blank) | (blank) | (blank) | 20 | 1 | C | 1 | 20 | (blank) | (blank) | (blank) | (blank) | R | 143,148 | RECEPTACLE | 6
7 | RECEPTACLE | 148,149,150,151 | R | (blank) | (blank) | (blank) | (blank) | 20 | 1 | A | 1 | 20 | (blank) | (blank) | (blank) | (blank) | R | 147 | RECEPTACLE | 8
9 | RECEPTACLE | 151,152 | R | (blank) | (blank) | (blank) | (blank) | 20 | 1 | B | 1 | 20 | (blank) | (blank) | (blank) | (blank) | R | 147 | RECEPTACLE | 10
11 | RECEPTACLE | 147 | R | (blank) | (blank) | (blank) | (blank) | 15 | 1 | C | 1 | 20 | (blank) | (blank) | (blank) | (blank) | R | 147 | RECEPTACLE | 12
13 | RECEPTACLE | 147 | R | (blank) | (blank) | (blank) | (blank) | 20 | 1 | A | 1 | 20 | (blank) | (blank) | (blank) | (blank) | R | 147 | RECEPTACLE | 14
15 | RECEPTACLE | 147 | R | (blank) | (blank) | (blank) | (blank) | 20 | 1 | B | 1 | 20 | (blank) | (blank) | (blank) | (blank) | R | CORRIDOR | RECEPTACLE,COPIER | 16
17 | RECEPTACLE | 147,158 | R | (blank) | (blank) | (blank) | (blank) | 20 | 1 | C | 1 | 20 | (blank) | (blank) | (blank) | (blank) | R | 167 | RECEPTACLE | 18
19 | RECEPTACLE | 156,157,158 | R | (blank) | (blank) | (blank) | (blank) | 20 | 1 | A | 1 | 20 | (blank) | (blank) | (blank) | (blank) | R | 168 | RECEPTACLE | 20
21 | RECEPTACLE | 165,166 | R | (blank) | (blank) | (blank) | (blank) | 20 | 1 | B | 1 | 20 | (blank) | (blank) | (blank) | (blank) | R | 162 | RECEPTACLE | 22
23 | RECEPTACLE | 162 | R | (blank) | (blank) | (blank) | (blank) | 20 | 1 | C | 1 | 20 | (blank) | (blank) | (blank) | (blank) | R | 162 | RECEPTACLE | 24
25 | RECEPTACLE | 162 | R | (blank) | (blank) | (blank) | (blank) | 20 | 1 | A | 1 | 20 | (blank) | (blank) | (blank) | (blank) | R | 162 | RECEPTACLE | 26
27 | RECEPTACLE | 162 | R | (blank) | (blank) | (blank) | (blank) | 20 | 1 | B | 1 | 20 | (blank) | (blank) | (blank) | (blank) | R | 162 | RECEPTACLE | 28
29 | RECEPTACLE | 176 | R | (blank) | (blank) | (blank) | (blank) | 20 | 1 | C | 1 | 20 | (blank) | (blank) | (blank) | (blank) | R | 169,170,Hall | RECEPTACLE | 30
31 | RECEPTACLE | 171,172,173,174,175 | R | (blank) | (blank) | (blank) | (blank) | 20 | 1 | A | 1 | 20 | (blank) | (blank) | (blank) | (blank) | R | 163,169,176 | RECEPTACLE | 32
33 | RECEPTACLE | 147,155 | R | (blank) | (blank) | (blank) | (blank) | 20 | 1 | B | 1 | 20 | (blank) | (blank) | (blank) | (blank) | R | 161,164,Hall | RECEPTACLE | 34
35 | RECEPTACLE | 147-159 | R | (blank) | (blank) | (blank) | (blank) | 20 | 1 | C | 1 | 20 | (blank) | (blank) | (blank) | (blank) | R | 126,133 | RECEPTACLE | 36
37 | RECEPTACLE | 126 | R | (blank) | (blank) | (blank) | (blank) | 20 | 1 | A | 1 | 20 | (blank) | (blank) | (blank) | (blank) | R | 126 | RECEPTACLE | 38
39 | RECEPTACLE | 126 | R | (blank) | (blank) | (blank) | (blank) | 20 | 1 | B | 1 | 20 | (blank) | (blank) | (blank) | (blank) | R | 126 | RECEPTACLE | 40
41 | RECEPTACLE | 102 | R | (blank) | (blank) | (blank) | (blank) | 20 | 1 | C | 1 | 20 | (blank) | (blank) | (blank) | (blank) | R,L | 170 | Light, Photo Cell, Time Clock Recpt | 42
| ENDUSE LOADS: | PHASE A VA |  |  |  |  | PHASE B VA |  |  |  |  | PHASE C VA | [6 empty] | LOAD TYPE ABBREVIATIONS
| TOTAL LOADS: | CONNECTED KVA |  |  |  |  | DEMAND KVA |  |  |  |  | DESIGN KVA | [6 empty] | F FUTURE M MOTOR
|  | CONNECTED FLA |  |  |  |  | DEMAND FLA |  |  |  |  | DESIGN FLA | [6 empty] | H HEATER P PROCESS
L LIGHT R RECEPTACLE
MS MISC. S STAND-BY
| APPROVAL: | FACILITIES ENG: | Moe Khorsandian |  |  | DATE: | 2006-11-06 |  |  | FACILITIES DFTG: |  |  | Elaine Beauregard |  |  |  |  | DATE: 11/6/06
Removed Vending Machine from circuit 2
Circuit Number | Description | Room | Load Type | EA | Q | Dem | Total VA | BRK | #PH |  | Source
2 | RECEPTACLE | 144 | R | 180 | 5 | 0.6 | 900 | 20 | 1 |  | PNL 1LA
4 | RECEPTACLE | 134,135,138, Hall | R | (blank) | (blank) | (blank) | (blank) | 20 | 1
6 | RECEPTACLE | 143,148 | R | (blank) | (blank) | (blank) | (blank) | 20 | 1
8 | RECEPTACLE | 147 | R | (blank) | (blank) | (blank) | (blank) | 20 | 1
10 | RECEPTACLE | 147 | R | (blank) | (blank) | (blank) | (blank) | 20 | 1
12 | RECEPTACLE | 147 | R | (blank) | (blank) | (blank) | (blank) | 20 | 1
14 | RECEPTACLE | 147 | R | (blank) | (blank) | (blank) | (blank) | 20 | 1
16 | RECEPTACLE,COPIER | CORRIDOR | R | (blank) | (blank) | (blank) | (blank) | 20 | 1
18 | RECEPTACLE | 167 | R | (blank) | (blank) | (blank) | (blank) | 20 | 1
20 | RECEPTACLE | 168 | R | (blank) | (blank) | (blank) | (blank) | 20 | 1
22 | RECEPTACLE | 162 | R | (blank) | (blank) | (blank) | (blank) | 20 | 1
24 | RECEPTACLE | 162 | R | (blank) | (blank) | (blank) | (blank) | 20 | 1
26 | RECEPTACLE | 162 | R | (blank) | (blank) | (blank) | (blank) | 20 | 1
28 | RECEPTACLE | 162 | R | (blank) | (blank) | (blank) | (blank) | 20 | 1
30 | RECEPTACLE | 169,170,Hall | R | (blank) | (blank) | (blank) | (blank) | 20 | 1
32 | RECEPTACLE | 163,169,176 | R | (blank) | (blank) | (blank) | (blank) | 20 | 1
34 | RECEPTACLE | 161,164,Hall | R | (blank) | (blank) | (blank) | (blank) | 20 | 1
36 | RECEPTACLE | 126,133 | R | (blank) | (blank) | (blank) | (blank) | 20 | 1
38 | RECEPTACLE | 126 | R | (blank) | (blank) | (blank) | (blank) | 20 | 1
40 | RECEPTACLE | 126 | R | (blank) | (blank) | (blank) | (blank) | 20 | 1
42 | Light, Photo Cell, Time Clock Recpt | 170 | R,L | (blank) | (blank) | (blank) | (blank) | 20 | 1
CKT | Description | LOCATION | LT | EA | Q | Dem | Total VA | BRK | #PH
1 | Recpt/Overhead Projector | 141 | R | 180 | 9 | 0.6 | 1620 | 20 | 1
3 | RECEPTACLE | 140,144,145,146 | R | (blank) | (blank) | (blank) | (blank) | 20 | 1
5 | RECEPTACLE | 135,136,137 | R | (blank) | (blank) | (blank) | (blank) | 20 | 1
7 | RECEPTACLE | 148,149,150,151 | R | (blank) | (blank) | (blank) | (blank) | 20 | 1
9 | RECEPTACLE | 151,152 | R | (blank) | (blank) | (blank) | (blank) | 20 | 1
11 | RECEPTACLE | 147 | R | (blank) | (blank) | (blank) | (blank) | 15 | 1
13 | RECEPTACLE | 147 | R | (blank) | (blank) | (blank) | (blank) | 20 | 1
15 | RECEPTACLE | 147 | R | (blank) | (blank) | (blank) | (blank) | 20 | 1
17 | RECEPTACLE | 147,158 | R | (blank) | (blank) | (blank) | (blank) | 20 | 1
19 | RECEPTACLE | 156,157,158 | R | (blank) | (blank) | (blank) | (blank) | 20 | 1
21 | RECEPTACLE | 165,166 | R | (blank) | (blank) | (blank) | (blank) | 20 | 1
23 | RECEPTACLE | 162 | R | (blank) | (blank) | (blank) | (blank) | 20 | 1
25 | RECEPTACLE | 162 | R | (blank) | (blank) | (blank) | (blank) | 20 | 1
27 | RECEPTACLE | 162 | R | (blank) | (blank) | (blank) | (blank) | 20 | 1
29 | RECEPTACLE | 176 | R | (blank) | (blank) | (blank) | (blank) | 20 | 1
31 | RECEPTACLE | 171,172,173,174,175 | R | (blank) | (blank) | (blank) | (blank) | 20 | 1
33 | RECEPTACLE | 147,155 | R | (blank) | (blank) | (blank) | (blank) | 20 | 1
35 | RECEPTACLE | 147-159 | R | (blank) | (blank) | (blank) | (blank) | 20 | 1
37 | RECEPTACLE | 126 | R | (blank) | (blank) | (blank) | (blank) | 20 | 1
39 | RECEPTACLE | 126 | R | (blank) | (blank) | (blank) | (blank) | 20 | 1
41 | RECEPTACLE | 102 | R | (blank) | (blank) | (blank) | (blank) | 20 | 1
This shape represents a slicer. Slicers are supported in Excel 2010 or later. If the shape was modified in an earlier version of Excel, or if the workbook was saved in Excel 2003 or earlier, the slicer cannot be used.